## Plant
EntityID | Region | PlantID | PlantName | EIACode | PlantISOID | Country | NearCity | State | TimeZone | PlantLatitude | PlantLongitude | Elevation | SRegime | GHI | IAVOR | CPOI | OnsiteStorage | PlantOwnStatus | PlantEffDate | PlantTransferEntity

## Group
EntityID | PlantID | InvGroupID | InvGroupName | InvCommDate | InvGrpInstCapacity | InverterCount | InvSystemMW | InvACCap | InvMfr | InvMdl | SCADAMfr | SCADAMdl | InvDCInputType | InvDCACRatio | InvPanelTracking | InvPanelTilt | InvMinIrradiance | InvStowingSpd | InvMinOpTemp | InvMaxOpTemp | InvTempCoeff | InvPanelEff | InverterOwnStatus | InvStatusEffDate | InvTransfertoEntity

## Storage
EntityID | PlantID | StorageGroupID | StorageGroupName | StorageEIACode | StorageISORID | StorageType | StorageCap | StorageEnergy | StorageConnType | GridCharge | StorageManuf | StorageModl | StorageCommDate | StorageInvManuf | StorageInvModel | StorageOwnStatus | StorageStatusEffDate | StorageTrfrtoEntity

## Group Performance
EntityID | PlantID | GroupID | ReptMonth | ReptYear | InvAvailStatus | GAG | NAG | NMC | MPOA | PerfRatio | EG | ASIH | AIH | IRIH | MBIH | RIH | SIHD | RSIH | FOIHD | MIHD | PIHD | RUIHD | SIHN | FOIHN | MIHN | PIHN | RUIHN

## Storage Performance
EntityID | PlantID | GroupID | ReptMonth | ReptYear | SGAvailStatus | ChgMWh | DischgMWh | ChgHrs | DisChgHrs | StorageFOH | StorageMOH | StoragePOH

## Event
EntityID | PlantID | EventID | TimeZone | StartDT | EndDT | EventType | CauseCode | Condition | Description | MWHLoss

## Sheet7
System | Subsystem | Cause Code | Description
Electrical | Switchyard | 23600 | Switchyard transformers (not GSU) and associated cooling systems - external (not OMC)
|  | 23601 | Switchyard transformers (not GSU) and associated cooling systems - external (OMC)
|  | 23610 | Switchyard circuit breakers - external (not OMC)
|  | 23611 | Switchyard circuit breakers - external (OMC)
|  | 23612 | Switchyard system protection devices - external (not OMC)
|  | 23613 | Switchyard system protection devices - external (not OMC)
|  | 23618 | Other switchyard equipment - external (not OMC)
|  | 23619 | Other switchyard equipment - external (OMC)
|  | 23620 | Main transformer (GSU)
|  | 23640 | Revenue meter or Power meter
|  | 23650 | Site Reactive Power Compensation
|  | 23660 | Transmission cables/Buss Work
Solar Generating Equipment | Solar Generating Equipment | 24000 | Photovoltaic Panels
|  | 24010 | Support Structure including Tracker
|  | 24020 | Electrical cables
|  | 24030 | Combiner Box
|  | 24040 | Recombiner Box
|  | 24050 | Inverter
|  | 24060 | AC breakers
|  | 24070 | Vegetation around Photovoltaic Panels
|  | 24090 | General
Control System/Communication | Control System/Communication | 25040 | Sensors
|  | 25050 | Software
|  | 25070 | Processor
|  | 25080 | Processor Cooling
|  | 25090 | Hardware
|  | 25100 | Power Supply
|  | 25110 | Control Cabinet Filtration
|  | 25120 | Cabinet Cooling/Heating
|  | 25130 | SCADA
|  | 25140 | Solar Plant Control System
|  | 25190 | General
|  | 25300 | Wave Trap (HV Communications)
|  | 25310 | Site Communication
Energy Storage | Energy Storage | 26010 | Lithium Battery
|  | 26020 | Flywheel
|  | 26030 | Molten Salt
|  | 26040 | Compressed Air
|  | 26090 | Other
External | Acts of Nature | 29000 | Flood (OMC)
|  | 29001 | Drought (OMC)
|  | 29010 | Fire including wildfires, not related to a specific component (OMC)
|  | 29015 | Pandemic (OMC)
|  | 29020 | Lightning (OMC)
|  | 29025 | Geomagnetic Disturbance (OMC)
|  | 29030 | Earthquake (OMC)
|  | 29031 | Tornado (OMC)
|  | 29035 | Hurricane (OMC)
|  | 29036 | Weather - Ice (OMC)
|  | 29037 | Weather - Temperature (OMC)
|  | 29038 | Weather - Turbulence (OMC)
|  | 29040 | Other Catastrophe (OMC)
External | Acts of Man | 29050 | Off-Taker Transmission & Distribution (OMC)
|  | 29060 | External Communication (OMC)
|  | 29070 | Legal, Contractual or Environmental (OMC)
|  | 29080 | Execution Delays (OMC) * Special Requirements
|  | 29090 | Physical Security Incident
|  | 29091 | Physical Security Incident (OMC)
|  | 29092 | Cyber Security Incident
|  | 29093 | Cyber Security Incident (OMC)
|  | 29100 | External Labor Strikes (OMC)
|  | 29110 | Regulatory-Environmental
Transmission | Transmission | 29300 | Transmission (Gen Tie)
Human Performance | Human Performance | 29900 | Operator Error
|  | 29910 | Maintenance Error
|  | 29920 | Contractor Error
|  | 29940 | Procedure Error